## waza-ari_condition-list
<<Date and Time>> | <<CT scan type>> | <<Manufacturer>> | <<Scanner model>> | <<Filter>> | <<Tube potential>> | <<Rotation time>> | <<Pitch factor>> | <<Beam width>> | <<Gender>> | <<Phantom>> | <<Scan range Begin position>> | <<Scan range End position>> | <<AEC>> | <<Tube current>> | <<Begin position>> | <<Za>> | <<Zb>> | <<Zc'=Zb>> | <<Zc>> | <<Zd>> | <<Ze>> | <<End position>> | <<Optional Phantom>> | <<Height>> | <<Weight>> | <<AP>> | <<Lateral>> | <<CTDI Phantom Size>> | <<SSDE>>
2019-04-01 | 胸部(胸部～骨盤1相) | Siemens | Sensation 64 | [Body] | 120 | 1 | 1 | 18mm | male | Thin(-2SD) | 1580 | 920 | ON | - | 198 | 149 | 199 | 199 | 226 | 194 | 204 | 198 | OFF | - | - | - | - | 32 | OFF
2019-04-01 | 頭部(頭部－頸部1相) | GE | Revolution CT | [Head] | 120 | 1.5 | 1.2 | 256x0.625mm | female | Fat(+2SD) | 1835 | 1510 | OFF | 200 | - | - | - | - | - | - | - | - | OFF | - | - | - | - | 32 | OFF
2019-04-01 | 頸部(頸部～骨盤1相) | Canon | Aquilion ONE GENESIS | [Body] | 120 | 1 | 1.2 | 320x0.5mm(Volume) | male | Adult optional phantom | 1525 | 790 | OFF | 180 | - | - | - | - | - | - | - | - | ON | - | - | 15 | 25 | 32 | ON

## list
<<CT scan type>> | <<Manufacturer>> | <<Scanner model>> | WAZA-ARI内ID | <<Tube potential>> | <<Gender>> | <<Phantom>> | <<AEC>> | <<CTDI Phantom Size>>
頭部(顔面／眼窩／副鼻腔) | GE | LightSpeed 16 | LightSpeed16 | 120 | male | standard | OFF | 16
頭部(頭部アンギオ) | Siemens | LightSpeed RT | LightSpeedRT | 130 | female | Thin(-2SD) | ON | 32
頭部(頭部－頸部1相) | Toshiba | LightSpeed Ultra | LightSpeedUltra |  |  | Fat(+2SD)
頭部(頭頸部アンギオ) | Hitachi | LightSpeed VCT | LightSpeedVCT |  |  | Fat(+5SD)
頭部(頭部単純ヘリカル) | Canon | BrightSpeed Elite | BrightSpeedElite |  |  | age:0
頭部(頭部単純ノンヘリカル) | Philips | Discovery CT750HD | DiscoveryCT750HD |  |  | age:1
頸部(頸部－腹部1相) |  | Revolution HD | RevolutionHD |  |  | age:5
頸部(頸部－胸部1相) |  | Optima CT660 | OptimaCT660 |  |  | age:10
頸部(頸部～骨盤1相) |  | Revolution EVO | RevolutionEVO |  |  | age:15
頸部(頸部のみ1相) |  | Revolution CT | RevolutionCT |  |  | Adult optional phantom
胸部(胸部～骨盤1相) |  | Sensation 16 | Sensation16
胸部(胸部～上腹部1相) |  | Sensation 64 | Sensation64
胸部(HRCT) |  | Emotion 6 | Emotion6
胸部(肺がん検診) |  | Emotion 16 | Emotion16
胸部(胸部のみ1相) |  | Perspective | Perspective
腹部(上腹部のみ1相) |  | Scope | Scope
腹部(上腹部～骨盤1相) |  | Definition Flash | DefinitionFlash
腹部(肝臓ダイナミック＜胸部や骨盤含まず＞) |  | Definition Edge | DefinitionEdge
骨盤(股関節) |  | Definition AS | DefinitionAS
骨盤(下腹部) |  | Definition AS+ | DefinitionASp
骨盤(骨盤) |  | Force | Force
脊椎(頸椎) |  | Aquilion 16 | Aquilion16
脊椎(腰椎) |  | Aquilion 64 | Aquilion64
脊椎(胸椎) |  | Aquilion CXL | AquilionCXL
心臓(冠動脈のみ) |  | Alexion | Alexion
|  | Alexion Access | AlexionAccess
|  | Aquilion Lightning | AquilionLightning
|  | Aquilion ONE ViSION | AquilioｎONEViSION
|  | Aquilion PRIME Beyond | AquilionPRIMEBeyond
|  | Aquilion PRIME Focus | AquilionPRIMEFocus
|  | Aquilion Precision | AquilionPrecision
|  | Aquilion ONE GENESIS | AquilionONEGENESIS
|  | Aquilion ONE NATURE | AquilionONENATURE
|  | Eclos Series | Eclos
|  | Supria Series | Supria
|  | SCENARIA | SCENARIA
|  | Brilliance 64 | Brilliance64
|  | Brilliance iCT | BrillianceiCT
|  | Ingenuity | Ingenuity
|  | IQon Spectral CT | IQonSpectralCT

## Scanner model
Scanner model | [5 empty] | Potential | [9 empty] | Filter
GE | Siemens | Toshiba | Hitachi | Canon | Philips | Potential_LightSpeed16 | 80 | 100 | 120 | [6 empty] | Filter_LightSpeed16 | [Body] | [Head] | Large | Small
LightSpeed 16 | Sensation 16 | Aquilion 16 | Eclos Series | Aquilion 16 | Brilliance 64 | Potential_LightSpeedRT | 80 | 100 | 120 | [6 empty] | Filter_LightSpeedRT | [Body] | [Head] | Large | Small
LightSpeed RT | Sensation 64 | Aquilion 64 | Supria Series | Aquilion 64 | Brilliance iCT | Potential_LightSpeedUltra | 80 | 100 | 120 | [6 empty] | Filter_LightSpeedUltra | [Body] | [Head] | Large | Small
LightSpeed Ultra | Emotion 6 | Aquilion CXL | SCENARIA | Aquilion CXL | Ingenuity | Potential_LightSpeedVCT | 80 | 120 | [7 empty] | Filter_LightSpeedVCT | [Body] | [Head] | Large | Medium | Small
LightSpeed VCT | Emotion 16 | Alexion |  | Alexion | IQon Spectral CT | Potential_BrightSpeedElite | 80 | 100 | 120 | 140 | [5 empty] | Filter_BrightSpeedElite | [Body] | [Head] | Large | Medium
BrightSpeed Elite | Perspective | Alexion Access |  | Alexion Access |  | Potential_DiscoveryCT750HD | 80 | 100 | 120 | 140 | [5 empty] | Filter_DiscoveryCT750HD | [Body] | [Head] | Large | Medium | Small
Discovery CT750HD | Scope | Aquilion Lightning |  | Aquilion Lightning |  | Potential_RevolutionHD | 80 | 100 | 120 | 140 | [5 empty] | Filter_RevolutionHD | [Body] | [Head] | Large | Medium | Small
Revolution HD | Definition Flash | Aquilion ONE ViSION |  | Aquilion ONE ViSION |  | Potential_OptimaCT660 | 80 | 100 | 120 | 140 | [5 empty] | Filter_OptimaCT660 | [Body] | [Head] | Large | Small
Optima CT660 | Definition Edge | Aquilion PRIME Beyond |  | Aquilion PRIME Beyond |  | Potential_RevolutionEVO | 80 | 100 | 120 | 140 | [5 empty] | Filter_RevolutionEVO | [Body] | [Head] | Large | Small
Revolution EVO | Definition AS | Aquilion PRIME Focus |  | Aquilion PRIME Focus |  | Potential_RevolutionCT | 120 | [8 empty] | Filter_RevolutionCT | [Body] | [Head] | Medium
Revolution CT | Definition AS+ | Aquilion Precision |  | Aquilion Precision |  | Potential_Sensation16 | 80 | 100 | 120 | [6 empty] | Filter_Sensation16 | [Body] | [Head] | Standard
| Force | Aquilion ONE GENESIS |  | Aquilion ONE GENESIS |  | Potential_Sensation64 | 80 | 100 | 120 | [6 empty] | Filter_Sensation64 | [Body] | [Head] | Standard
|  | Aquilion ONE NATURE |  | Aquilion ONE NATURE |  | Potential_Emotion6 | 80 | 110 | 130 | [6 empty] | Filter_Emotion6 | [Body] | [Head] | Standard
[6 empty] | Potential_Emotion16 | 80 | 110 | 130 | [6 empty] | Filter_Emotion16 | [Body] | [Head] | Standard
[6 empty] | Potential_Perspective | 80 | 110 | 130 | [6 empty] | Filter_Perspective | [Body] | [Head] | Standard
[6 empty] | Potential_Scope | 80 | 110 | 130 | [6 empty] | Filter_Scope | [Body] | [Head] | Standard
[6 empty] | Potential_DefinitionFlash | 80 | 100 | 120 | 140 | [5 empty] | Filter_DefinitionFlash | [Body] | [Head] | Standard | Wide
[6 empty] | Potential_DefinitionEdge | 70 | 80 | 100 | 120 | 140 |  |  |  |  | Filter_DefinitionEdge | [Body] | [Head] | Standard
[6 empty] | Potential_DefinitionAS | 70 | 80 | 100 | 120 | 140 |  |  |  |  | Filter_DefinitionAS | [Body] | [Head] | Standard
[6 empty] | Potential_DefinitionASp | 70 | 80 | 100 | 120 | 140 |  |  |  |  | Filter_DefinitionASp | [Body] | [Head] | Standard
[6 empty] | Potential_Force | 70 | 80 | 90 | 100 | 110 | 120 | 130 | 140 | 150 | Filter_Force | [Body] | [Head] | Standard
[6 empty] | Potential_Aquilion16 | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_Aquilion16 | [Body] | [Head] | Large | Small
[6 empty] | Potential_Aquilion64 | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_Aquilion64 | [Body] | [Head] | Large | Small
[6 empty] | Potential_AquilionCXL | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_AquilionCXL | [Body] | [Head] | Large | Small
[6 empty] | Potential_Alexion | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_Alexion | [Body] | [Head] | Medium
[6 empty] | Potential_AlexionAccess | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_AlexionAccess | [Body] | [Head] | Medium
[6 empty] | Potential_AquilionLightning | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_AquilionLightning | [Body] | [Head] | Large | Small
[6 empty] | Potential_AquilionONEViSION | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_AquilionONEViSION | [Body] | [Head] | Large | Medium | Small
[6 empty] | Potential_AquilioｎPRIMEBeyond | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_AquilionPRIMEBeyond | [Body] | [Head] | Large | Medium | Small
[6 empty] | Potential_AquilioｎPRIMEFocus | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_AquilionPRIMEFocus | [Body] | [Head] | Large | Medium | Small
[6 empty] | Potential_AquilionPrecision | 70: 80; 80: 100; 90: 120; 100: 135 | Filter_AquilionPrecision | [Body] | [Head] | Large1 | Large2 | Small1
[6 empty] | Potential_AquilionONEGENESIS | 70: 80; 80: 100; 90: 120 | Filter_AquilionONEGENESIS | [Body] | [Head] | Large | Medium
[6 empty] | Potential_AquilionONENATURE | 70: 80; 80: 100; 90: 120 | Filter_AquilionONENATURE | [Body] | [Head] | Large | Medium
[6 empty] | Potential_Eclos | 70: 100; 80: 120 | Filter_Eclos | [Body] | [Head] | Normal
[6 empty] | Potential_Supria | 70: 80; 80: 100; 90: 120; 100: 140 | Filter_Supria | [Body] | [Head] | Normal
[6 empty] | Potential_SCENARIA | 70: 80; 80: 100; 90: 120; 100: 140 | Filter_SCENARIA | [Body] | [Head] | Normal | Small
[6 empty] | Potential_Brilliance64 | 70: 80; 80: 120 | Filter_Brilliance64 | [Body] | [Head] | Large
[6 empty] | Potential_BrillianceiCT | 70: 80; 80: 120 | Filter_BrillianceiCT | [Body] | [Head] | Large | Small
[6 empty] | Potential_Ingenuity | 70: 80; 80: 120 | Filter_Ingenuity | [Body] | [Head] | Large
[6 empty] | Potential_IQonSpectralCT | 70: 120 | Filter_IQonSpectralCT | [Body] | [Head] | Medium

## BeamWidth
GE | [9 empty] | Siemens | [10 empty] | Toshiba | [11 empty] | Hitachi |  |  | Philips
BW_LightSpeed16 | BW_LightSpeedRT | BW_LightSpeedUltra | BW_LightSpeedVCT | BW_BrightSpeedElite | BW_DiscoveryCT750HD | BW_RevolutionHD | BW_OptimaCT660 | BW_RevolutionEVO | BW_RevolutionCT | BW_Sensation16 | BW_Sensation64 | BW_Emotion6 | BW_Emotion16 | BW_Perspective | BW_Scope | BW_DefinitionFlash | BW_DefinitionEdge | BW_DefinitionAS | BW_DefinitionASp | BW_Force | BW_Aquilion16 | BW_Aquilion64 | BW_AquilionCXL | BW_Alexion | BW_AlexionAccess | BW_AquilionLightning | BW_AquilionONEViSION | BW_AquilionPRIMEBeyond | BW_AquilionPRIMEFocus | BW_AquilionPrecision | BW_AquilionONEGENESIS | BW_AquilionONENATURE | BW_Eclos | BW_Supria | BW_SCENARIA | BW_Brilliance64 | BW_BrillianceiCT | BW_Ingenuity | BW_IQonSpectralCT
20mm | 20mm | 20mm | 40mm | 2x10mm | 64x0.625mm | 64x0.625mm | 8x5mm | 8x5mm | 8x0.625mm | 24mm | 28.8mm | 6x3mm | 16x1.2mm | 2x1.0mm | 4x0.6mm | 64x0.6mm(128x0.6) | 64x0.6mm(128x0.6) | 16x1.2mm | 32x1.2mm | 2x1mm(2x1mm) | 32mm(4x8mm) | 64x0.5mm | 1x1mm | 4mm(4x1mm) | 4mm(4x1mm) | 4x0.5mm | 4x0.5mm(Conventional) | 1mm | 1mm | 4x0.25mm(Convetional) | 4x0.5mm(Conventional) | 4x0.5mm(Conventional) | 20mm | 40mm | 40mm | 12x0.625mm | 4x0.625mm | 12x0.625mm | 4x0.625mm
15mm | 15mm | 15mm | 20mm | 4x3.75mm | 32x0.625mm | 32x0.625mm | 4x5mm | 4x5mm | 16x0.625mm | 18mm | 19.2mm | 6x2mm | 2x8mm | 4x0.6mm | 12x0.6mm | 32x1.2mm | 32x1.2mm | 32x0.6mm(64x0.6) | 64x0.6mm(128x0.6mm) | 6x0.6mm(6x0.6mm) | 32mm(16x2mm) | 32x0.5mm | 4x0.5mm | 8mm(4x2mm) | 8mm(4x2mm) | 4x1mm | 4x1mm(Conventional) | 2mm | 2mm | 4x0.5mm(Convetional) | 4x1mm(Conventional) | 4x1mm(Conventional) | 15mm | 20mm | 20mm | 12x1.25mm | 8x0.625mm | 12x1.25mm | 8x0.625mm
10mm | 10mm | 10mm | 10mm | 2x5mm | 16x0.625mm | 16x0.625mm | 2x5mm | 2x5mm | 32x0.625mm | 12mm | 18mm | 2x5mm | 12x1.2mm | 12x0.6mm | 16x0.6mm | 32x0.6mm(64x0.6) | 12x1.2mm | 12x1.2mm | 12x1.2mm | 1x5mm(1x5mm) | 24mm | 32x1.0mm | 4x4mm | 12mm(4x3mm) | 12mm(4x4mm) | 4x2mm | 4x2mm(Conventional) | 4mm | 4mm | 4x1mm(Convetional) | 4x2mm(Conventional) | 4x2mm(Conventional) | 10mm | 15mm | 15mm | 16x0.625mm | 16x0.625mm | 16x0.625mm | 16x0.625mm
5mm | 5mm | 5mm | 1.25mm | 8x1.25mm | 8x0.625mm | 8x0.625mm | 1x5mm | 1x5mm | 64x0.625mm | 10mm | 10mm | 6x1mm | 2x5mm | 2x5mm | 2x5mm | 32x0.6mm | 20x0.6mm(40x0.6) | 20x0.6mm(40x0.6) | 20x0.6mm(40x0.6) | 1x10mm(1x10mm) | 16mm(4x4mm) | 16x2.0mm | 4x8mm | 16mm(4x4mm) | 16mm(4x4mm) | 4x3mm | 4x3mm(Conventional) | 8mm | 8mm | 4x2mm(Convetional) | 4x3mm(Conventional) | 4x3mm(Conventional) | 5mm | 10mm | 10mm | 16x2.5mm | 32x0.625mm | 16x2.5mm | 32x0.625mm
1.25mm | 2x0.63mm | 1x1.25mm |  | 16x0.625mm | 4x0.625mm | 4x0.625mm | 1x2.5mm | 1x2.5mm | 128x0.625mm | 9mm | 6mm | 6x0.5mm | 16x0.6mm | 32x0.6mm | 12x1.2mm | 12x1.2mm | 1x10mm | 1x10mm | 1x10mm | 12x1.2mm(12x1.2mm) | 16mm(16x1mm) | 16x1.0mm | 32x1mm | 10mm(2x5mm) |  | 4x4mm | 4x4mm(Conventional) | 10mm | 10mm | 4x3mm(Convetional) | 4x4mm(Conventional) | 4x4mm(Conventional) | 1.25mm | 5mm | 5mm | 20x0.625mm(UHR) | 64x0.625mm | 20x0.625mm(UHR) | 64x0.625mm
| 1x1.25mm | 2x0.63mm |  | 2x0.625mm | 2x0.625mm | 2x0.625mm | 1x1.25mm | 1x1.25mm | 160x0.625mm | 2mm | 5mm | 1x1mm | 12x0.6mm | 32x1.2mm | 2x8mm | 30x0.6mm(40x0.6) | 6x1.2mm | 6x1.2mm | 6x1.2mm | 32x0.6mm(32x0.6mm)UHR | 12mm | 16x0.5mm |  | 16mm(2x8mm) |  | 10x2mm | 4x5mm(Conventional) | 12mm | 12mm | 4x4mm(Convetional) | 4x5mm(Conventional) | 4x5mm(Conventional) |  | 1.25mm | 1.25mm | 2x0.5mm(HR) | 96x0.625mm | 2x0.5mm(HR)
|  |  |  | 1x1.25mm |  |  |  |  | 192x0.625mm | 1.2mm |  |  | 4x0.6mm |  | 16x1.2mm | 1x10mm | 10x0.6mm(20x0.6) | 10x0.6mm(20x0.6) | 10x0.6mm(20x0.6) | 32x0.6mm(64x0.6mm)sUHR | 8mm(1x8mm) | 4x8.0mm |  | 2mm(1x2mm) |  | 1x1mm | 4x8mm(Conventional) | 16mm | 16mm | 4x5mm(Convetional) | 4x8mm(Conventional) | 4x8mm(Conventional) |  |  |  | 2x0.625(UHR) | 112x0.625mm | 2x0.625(UHR)
[9 empty] | 224x0.625mm | [6 empty] | 8x0.6mm(16x0.6) | 1x5mm | 8x0.6mm | 1x5mm | 32x0.6mm(64x0.6mm) | 8mm(4x2mm) | 4x6.0mm |  | 4mm(1x4mm) |  | 1x2mm | 1x1mm(Conventional) | 20mm | 20mm | 4x8mm(Convetional) | 1x1mm(Conventional) | 1x1mm(Conventional) |  |  |  | 32x1.25mm | 128x0.625mm | 32x1.25mm
[9 empty] | 256x0.625mm | [6 empty] | 8x0.6mm(16x0.3) | 8x0.6mm(16x0.6) | 6x0.6mm | 8x0.6mm | 48x0.6mm(96x0.6mm) | 8mm(16x0.5mm) | 4x4.0mm |  | 6mm(1x6mm) |  | 1x4mm | 40x0.5mm(Volume) | 32mm | 32mm | 1x1mm(Convetional) | 80x0.5mm(Volume) | 80x0.5mm(Volume) |  |  |  | 40x0.625mm |  | 40x0.625mm
[16 empty] | 10x0.6mm(20x0.6) | 8x0.6mm(16x0.3) | 2x1mm | 8x0.6mm(16x0.6) | 64x0.6mm(128x0.6mm) | 6mm | 4x3.0mm |  | 16mm(16x1mm) |  | 1x6mm | 80x0.5mm(Volume) | 40mm | 40mm | 20x0.5mm(Helical/Volume) | 120x0.5mm(Volume) | 120x0.5mm(Volume) |  |  |  | 64x0.625mm |  | 64x0.625mm
[16 empty] | 6x0.6mm | 8x0.6mm |  | 6x0.6mm | 96x0.6mm(192x0.6mm) | 4mm(1x4mm) | 4x2.0mm |  |  |  | 1x8mm | 120x0.5mm(Volume) |  |  | 40x0.5mm(Helical/Volume) | 160x0.5mm(Volume) | 160x0.5mm(Volume)
[16 empty] | 1x5mm | 6x0.6mm |  | 2x1mm | 24x1.2mm(24x1.2mm) | 4mm(4x1mm) | 4x1.0mm |  |  |  | 16x0.5mm | 160x0.5mm(Volume) |  |  | 80x0.25mm(Helical/Volume) | 200x0.5mm(Volume) | 200x0.5mm(Volume)
[16 empty] | 2x1mm | 2x1mm |  |  | 48x1.2mm(48x1.2mm) | 2mm(1x2mm) | 4x0.5mm |  |  |  | 16x1mm | 200x0.5mm(Volume) |  |  | 80x0.5mm(Helical/Volume) | 240x0.5mm(Volume) | 240x0.5mm(Volume)
[21 empty] | 2mm(4x0.5mm) |  |  |  |  | 3x1mm | 240x0.5mm(Volume) |  |  | 160x0.25mm(Helical/Volume) | 266x0.5mm(Volume) | 266x0.5mm(Volume)
[21 empty] | 1mm |  |  |  |  | 3x2mm | 256x0.5mm(Volume) |  |  | 8x0.25mm(RealPrep) | 260x0.5mm(Volume) | 260x0.5mm(Volume)
[26 empty] | 3x4mm | 280x0.5mm(Volume) |  |  | 8x0.5mm(RealPrep) | 280x0.5mm(Volume) | 280x0.5mm(Volume)
[27 empty] | 320x0.5mm(Volume) |  |  | 16x0.25mm(RealPrep) | 320x0.5mm(Volume) | 320x0.5mm(Volume)
[27 empty] | 120x1mm(Volume) |  |  | 1x2mm(CTF) | 8x0.5mm(SURE) | 8x0.5mm(SURE)
[27 empty] | 140x1mm(Volume) |  |  | 1x4mm(CTF) | 1x2mm(CTF) | 1x2mm(CTF)
[27 empty] | 160x1mm(Volume) |  |  | 1x6mm(CTF) | 1x4mm(CTF) | 1x4mm(CTF)
[27 empty] | 8x0.5mm(SURE) |  |  | 1x8mm(CTF) | 1x6mm(CTF) | 1x6mm(CTF)
[27 empty] | 1x2mm(CTF) |  |  | 3x2mm(CTF) | 1x8mm(CTF) | 1x8mm(CTF)
[27 empty] | 1x4mm(CTF) |  |  | 3x4mm(CTF) | 3x2mm(CTF) | 3x2mm(CTF)
[27 empty] | 1x6mm(CTF) |  |  | 3x6mm(CTF) | 3x4mm(CTF) | 3x4mm(CTF)
[27 empty] | 1x8mm(CTF) |  |  | 3x8mm(CTF) | 3x6mm(CTF) | 3x6mm(CTF)
[27 empty] | 3x2mm(CTF) |  |  |  | 3x8mm(CTF) | 3x8mm(CTF)
[27 empty] | 3x4mm(CTF) |  |  |  | 20x0.5mm(Helical) | 20x0.5mm(Helical)
[27 empty] | 3x6mm(CTF) |  |  |  | 40x0.5mm(Helical) | 40x0.5mm(Helical)
[27 empty] | 3x8mm(CTF) |  |  |  | 64x0.5mm(Helical) | 64x0.5mm(Helical)
[27 empty] | 16x0.5mm(Helical) |  |  |  | 80x0.5mm(Helical) | 80x0.5mm(Helical)
[27 empty] | 32x0.5mm(Helical) |  |  |  | 100x0.5mm(Helical) | 100x0.5mm(Helical)
[27 empty] | 64x0.5mm(Helical) |  |  |  | 128x0.5mm(Helical) | 128x0.5mm(Helical)
[27 empty] | 80x0.5mm(Helical) |  |  |  | 160x0.5mm(Helical) | 160x0.5mm(Helical)
[27 empty] | 100x0.5mm(Helical) |  |  |  | 40x1mm(Helical) | 40x1mm(Helical)
128x0.5mm(Helical)
160x0.5mm(Helical)
16x1mm(Helical)
32x1mm(Helical)
40x1mm(Helical)

## BeamWidthList
|  |  | BW_ | Filter_ | Potential_
1 | Sensation 64 | Sensation64 | BW_Sensation64 | Filter_Sensation64 | Potential_Sensation64
2 | Revolution CT | RevolutionCT | BW_RevolutionCT | Filter_RevolutionCT | Potential_RevolutionCT
3 | Aquilion ONE GENESIS | AquilionONEGENESIS | BW_AquilionONEGENESIS | Filter_AquilionONEGENESIS | Potential_AquilionONEGENESIS
4 | 0 | #N/A | #N/A | #N/A | #N/A
5 | 0 | #N/A | #N/A | #N/A | #N/A
6 | 0 | #N/A | #N/A | #N/A | #N/A
7 | 0 | #N/A | #N/A | #N/A | #N/A
8 | 0 | #N/A | #N/A | #N/A | #N/A
9 | 0 | #N/A | #N/A | #N/A | #N/A
10 | 0 | #N/A | #N/A | #N/A | #N/A
11 | 0 | #N/A | #N/A | #N/A | #N/A
12 | 0 | #N/A | #N/A | #N/A | #N/A
13 | 0 | #N/A | #N/A | #N/A | #N/A
14 | 0 | #N/A | #N/A | #N/A | #N/A
15 | 0 | #N/A | #N/A | #N/A | #N/A
16 | 0 | #N/A | #N/A | #N/A | #N/A
17 | 0 | #N/A | #N/A | #N/A | #N/A
18 | 0 | #N/A | #N/A | #N/A | #N/A
19 | 0 | #N/A | #N/A | #N/A | #N/A
20 | 0 | #N/A | #N/A | #N/A | #N/A
21 | 0 | #N/A | #N/A | #N/A | #N/A
22 | 0 | #N/A | #N/A | #N/A | #N/A
23 | 0 | #N/A | #N/A | #N/A | #N/A
24 | 0 | #N/A | #N/A | #N/A | #N/A
25 | 0 | #N/A | #N/A | #N/A | #N/A
26 | 0 | #N/A | #N/A | #N/A | #N/A
27 | 0 | #N/A | #N/A | #N/A | #N/A
28 | 0 | #N/A | #N/A | #N/A | #N/A
29 | 0 | #N/A | #N/A | #N/A | #N/A
30 | 0 | #N/A | #N/A | #N/A | #N/A
31 | 0 | #N/A | #N/A | #N/A | #N/A
32 | 0 | #N/A | #N/A | #N/A | #N/A
33 | 0 | #N/A | #N/A | #N/A | #N/A
34 | 0 | #N/A | #N/A | #N/A | #N/A
35 | 0 | #N/A | #N/A | #N/A | #N/A
36 | 0 | #N/A | #N/A | #N/A | #N/A
37 | 0 | #N/A | #N/A | #N/A | #N/A
38 | 0 | #N/A | #N/A | #N/A | #N/A
39 | 0 | #N/A | #N/A | #N/A | #N/A
40 | 0 | #N/A | #N/A | #N/A | #N/A
41 | 0 | #N/A | #N/A | #N/A | #N/A
42 | 0 | #N/A | #N/A | #N/A | #N/A
43 | 0 | #N/A | #N/A | #N/A | #N/A
44 | 0 | #N/A | #N/A | #N/A | #N/A
45 | 0 | #N/A | #N/A | #N/A | #N/A
46 | 0 | #N/A | #N/A | #N/A | #N/A
47 | 0 | #N/A | #N/A | #N/A | #N/A
48 | 0 | #N/A | #N/A | #N/A | #N/A
49 | 0 | #N/A | #N/A | #N/A | #N/A
50 | 0 | #N/A | #N/A | #N/A | #N/A
51 | 0 | #N/A | #N/A | #N/A | #N/A
52 | 0 | #N/A | #N/A | #N/A | #N/A
53 | 0 | #N/A | #N/A | #N/A | #N/A
54 | 0 | #N/A | #N/A | #N/A | #N/A
55 | 0 | #N/A | #N/A | #N/A | #N/A
56 | 0 | #N/A | #N/A | #N/A | #N/A
57 | 0 | #N/A | #N/A | #N/A | #N/A
58 | 0 | #N/A | #N/A | #N/A | #N/A
59 | 0 | #N/A | #N/A | #N/A | #N/A
60 | 0 | #N/A | #N/A | #N/A | #N/A
61 | 0 | #N/A | #N/A | #N/A | #N/A
62 | 0 | #N/A | #N/A | #N/A | #N/A
63 | 0 | #N/A | #N/A | #N/A | #N/A
64 | 0 | #N/A | #N/A | #N/A | #N/A
65 | 0 | #N/A | #N/A | #N/A | #N/A
66 | 0 | #N/A | #N/A | #N/A | #N/A
67 | 0 | #N/A | #N/A | #N/A | #N/A
68 | 0 | #N/A | #N/A | #N/A | #N/A
69 | 0 | #N/A | #N/A | #N/A | #N/A
70 | 0 | #N/A | #N/A | #N/A | #N/A
71 | 0 | #N/A | #N/A | #N/A | #N/A
72 | 0 | #N/A | #N/A | #N/A | #N/A
73 | 0 | #N/A | #N/A | #N/A | #N/A
74 | 0 | #N/A | #N/A | #N/A | #N/A
75 | 0 | #N/A | #N/A | #N/A | #N/A
76 | 0 | #N/A | #N/A | #N/A | #N/A
77 | 0 | #N/A | #N/A | #N/A | #N/A
78 | 0 | #N/A | #N/A | #N/A | #N/A
79 | 0 | #N/A | #N/A | #N/A | #N/A
80 | 0 | #N/A | #N/A | #N/A | #N/A
81 | 0 | #N/A | #N/A | #N/A | #N/A
82 | 0 | #N/A | #N/A | #N/A | #N/A
83 | 0 | #N/A | #N/A | #N/A | #N/A
84 | 0 | #N/A | #N/A | #N/A | #N/A
85 | 0 | #N/A | #N/A | #N/A | #N/A
86 | 0 | #N/A | #N/A | #N/A | #N/A
87 | 0 | #N/A | #N/A | #N/A | #N/A
88 | 0 | #N/A | #N/A | #N/A | #N/A
89 | 0 | #N/A | #N/A | #N/A | #N/A
90 | 0 | #N/A | #N/A | #N/A | #N/A
91 | 0 | #N/A | #N/A | #N/A | #N/A
92 | 0 | #N/A | #N/A | #N/A | #N/A
93 | 0 | #N/A | #N/A | #N/A | #N/A
94 | 0 | #N/A | #N/A | #N/A | #N/A
95 | 0 | #N/A | #N/A | #N/A | #N/A
96 | 0 | #N/A | #N/A | #N/A | #N/A
97 | 0 | #N/A | #N/A | #N/A | #N/A
98 | 0 | #N/A | #N/A | #N/A | #N/A
99 | 0 | #N/A | #N/A | #N/A | #N/A
100 | 0 | #N/A | #N/A | #N/A | #N/A
101 | 0 | #N/A | #N/A | #N/A | #N/A
102 | 0 | #N/A | #N/A | #N/A | #N/A
103 | 0 | #N/A | #N/A | #N/A | #N/A
104 | 0 | #N/A | #N/A | #N/A | #N/A
105 | 0 | #N/A | #N/A | #N/A | #N/A
106 | 0 | #N/A | #N/A | #N/A | #N/A
107 | 0 | #N/A | #N/A | #N/A | #N/A
108 | 0 | #N/A | #N/A | #N/A | #N/A
109 | 0 | #N/A | #N/A | #N/A | #N/A
110 | 0 | #N/A | #N/A | #N/A | #N/A
111 | 0 | #N/A | #N/A | #N/A | #N/A
112 | 0 | #N/A | #N/A | #N/A | #N/A
113 | 0 | #N/A | #N/A | #N/A | #N/A
114 | 0 | #N/A | #N/A | #N/A | #N/A
115 | 0 | #N/A | #N/A | #N/A | #N/A
116 | 0 | #N/A | #N/A | #N/A | #N/A
117 | 0 | #N/A | #N/A | #N/A | #N/A
118 | 0 | #N/A | #N/A | #N/A | #N/A
119 | 0 | #N/A | #N/A | #N/A | #N/A
120 | 0 | #N/A | #N/A | #N/A | #N/A
121 | 0 | #N/A | #N/A | #N/A | #N/A
122 | 0 | #N/A | #N/A | #N/A | #N/A
123 | 0 | #N/A | #N/A | #N/A | #N/A
124 | 0 | #N/A | #N/A | #N/A | #N/A
125 | 0 | #N/A | #N/A | #N/A | #N/A
126 | 0 | #N/A | #N/A | #N/A | #N/A
127 | 0 | #N/A | #N/A | #N/A | #N/A
128 | 0 | #N/A | #N/A | #N/A | #N/A
129 | 0 | #N/A | #N/A | #N/A | #N/A
130 | 0 | #N/A | #N/A | #N/A | #N/A
131 | 0 | #N/A | #N/A | #N/A | #N/A
132 | 0 | #N/A | #N/A | #N/A | #N/A
133 | 0 | #N/A | #N/A | #N/A | #N/A
134 | 0 | #N/A | #N/A | #N/A | #N/A
135 | 0 | #N/A | #N/A | #N/A | #N/A
136 | 0 | #N/A | #N/A | #N/A | #N/A
137 | 0 | #N/A | #N/A | #N/A | #N/A
138 | 0 | #N/A | #N/A | #N/A | #N/A
139 | 0 | #N/A | #N/A | #N/A | #N/A
140 | 0 | #N/A | #N/A | #N/A | #N/A
141 | 0 | #N/A | #N/A | #N/A | #N/A
142 | 0 | #N/A | #N/A | #N/A | #N/A
143 | 0 | #N/A | #N/A | #N/A | #N/A
144 | 0 | #N/A | #N/A | #N/A | #N/A
145 | 0 | #N/A | #N/A | #N/A | #N/A
146 | 0 | #N/A | #N/A | #N/A | #N/A
147 | 0 | #N/A | #N/A | #N/A | #N/A
148 | 0 | #N/A | #N/A | #N/A | #N/A
149 | 0 | #N/A | #N/A | #N/A | #N/A
150 | 0 | #N/A | #N/A | #N/A | #N/A
151 | 0 | #N/A | #N/A | #N/A | #N/A
152 | 0 | #N/A | #N/A | #N/A | #N/A
153 | 0 | #N/A | #N/A | #N/A | #N/A
154 | 0 | #N/A | #N/A | #N/A | #N/A
155 | 0 | #N/A | #N/A | #N/A | #N/A
156 | 0 | #N/A | #N/A | #N/A | #N/A
157 | 0 | #N/A | #N/A | #N/A | #N/A
158 | 0 | #N/A | #N/A | #N/A | #N/A
159 | 0 | #N/A | #N/A | #N/A | #N/A
160 | 0 | #N/A | #N/A | #N/A | #N/A
161 | 0 | #N/A | #N/A | #N/A | #N/A
162 | 0 | #N/A | #N/A | #N/A | #N/A
163 | 0 | #N/A | #N/A | #N/A | #N/A
164 | 0 | #N/A | #N/A | #N/A | #N/A
165 | 0 | #N/A | #N/A | #N/A | #N/A
166 | 0 | #N/A | #N/A | #N/A | #N/A
167 | 0 | #N/A | #N/A | #N/A | #N/A
168 | 0 | #N/A | #N/A | #N/A | #N/A
169 | 0 | #N/A | #N/A | #N/A | #N/A
170 | 0 | #N/A | #N/A | #N/A | #N/A
171 | 0 | #N/A | #N/A | #N/A | #N/A
172 | 0 | #N/A | #N/A | #N/A | #N/A
173 | 0 | #N/A | #N/A | #N/A | #N/A
174 | 0 | #N/A | #N/A | #N/A | #N/A
175 | 0 | #N/A | #N/A | #N/A | #N/A
176 | 0 | #N/A | #N/A | #N/A | #N/A
177 | 0 | #N/A | #N/A | #N/A | #N/A
178 | 0 | #N/A | #N/A | #N/A | #N/A
179 | 0 | #N/A | #N/A | #N/A | #N/A
180 | 0 | #N/A | #N/A | #N/A | #N/A
181 | 0 | #N/A | #N/A | #N/A | #N/A
182 | 0 | #N/A | #N/A | #N/A | #N/A
183 | 0 | #N/A | #N/A | #N/A | #N/A
184 | 0 | #N/A | #N/A | #N/A | #N/A
185 | 0 | #N/A | #N/A | #N/A | #N/A
186 | 0 | #N/A | #N/A | #N/A | #N/A
187 | 0 | #N/A | #N/A | #N/A | #N/A
188 | 0 | #N/A | #N/A | #N/A | #N/A
189 | 0 | #N/A | #N/A | #N/A | #N/A
190 | 0 | #N/A | #N/A | #N/A | #N/A
191 | 0 | #N/A | #N/A | #N/A | #N/A
192 | 0 | #N/A | #N/A | #N/A | #N/A
193 | 0 | #N/A | #N/A | #N/A | #N/A
194 | 0 | #N/A | #N/A | #N/A | #N/A
195 | 0 | #N/A | #N/A | #N/A | #N/A
196 | 0 | #N/A | #N/A | #N/A | #N/A
197 | 0 | #N/A | #N/A | #N/A | #N/A
198 | 0 | #N/A | #N/A | #N/A | #N/A
199 | 0 | #N/A | #N/A | #N/A | #N/A
200 | 0 | #N/A | #N/A | #N/A | #N/A
201 | 0 | #N/A | #N/A | #N/A | #N/A
202 | 0 | #N/A | #N/A | #N/A | #N/A
203 | 0 | #N/A | #N/A | #N/A | #N/A
204 | 0 | #N/A | #N/A | #N/A | #N/A
205 | 0 | #N/A | #N/A | #N/A | #N/A
206 | 0 | #N/A | #N/A | #N/A | #N/A
207 | 0 | #N/A | #N/A | #N/A | #N/A
208 | 0 | #N/A | #N/A | #N/A | #N/A
209 | 0 | #N/A | #N/A | #N/A | #N/A
210 | 0 | #N/A | #N/A | #N/A | #N/A
211 | 0 | #N/A | #N/A | #N/A | #N/A
212 | 0 | #N/A | #N/A | #N/A | #N/A
213 | 0 | #N/A | #N/A | #N/A | #N/A
214 | 0 | #N/A | #N/A | #N/A | #N/A
215 | 0 | #N/A | #N/A | #N/A | #N/A
216 | 0 | #N/A | #N/A | #N/A | #N/A
217 | 0 | #N/A | #N/A | #N/A | #N/A
218 | 0 | #N/A | #N/A | #N/A | #N/A
219 | 0 | #N/A | #N/A | #N/A | #N/A
220 | 0 | #N/A | #N/A | #N/A | #N/A
221 | 0 | #N/A | #N/A | #N/A | #N/A
222 | 0 | #N/A | #N/A | #N/A | #N/A
223 | 0 | #N/A | #N/A | #N/A | #N/A
224 | 0 | #N/A | #N/A | #N/A | #N/A
225 | 0 | #N/A | #N/A | #N/A | #N/A
226 | 0 | #N/A | #N/A | #N/A | #N/A
227 | 0 | #N/A | #N/A | #N/A | #N/A
228 | 0 | #N/A | #N/A | #N/A | #N/A
229 | 0 | #N/A | #N/A | #N/A | #N/A
230 | 0 | #N/A | #N/A | #N/A | #N/A
231 | 0 | #N/A | #N/A | #N/A | #N/A
232 | 0 | #N/A | #N/A | #N/A | #N/A
233 | 0 | #N/A | #N/A | #N/A | #N/A
234 | 0 | #N/A | #N/A | #N/A | #N/A
235 | 0 | #N/A | #N/A | #N/A | #N/A
236 | 0 | #N/A | #N/A | #N/A | #N/A
237 | 0 | #N/A | #N/A | #N/A | #N/A
238 | 0 | #N/A | #N/A | #N/A | #N/A
239 | 0 | #N/A | #N/A | #N/A | #N/A
240 | 0 | #N/A | #N/A | #N/A | #N/A
241 | 0 | #N/A | #N/A | #N/A | #N/A
242 | 0 | #N/A | #N/A | #N/A | #N/A
243 | 0 | #N/A | #N/A | #N/A | #N/A
244 | 0 | #N/A | #N/A | #N/A | #N/A
245 | 0 | #N/A | #N/A | #N/A | #N/A
246 | 0 | #N/A | #N/A | #N/A | #N/A
247 | 0 | #N/A | #N/A | #N/A | #N/A
248 | 0 | #N/A | #N/A | #N/A | #N/A
249 | 0 | #N/A | #N/A | #N/A | #N/A
250 | 0 | #N/A | #N/A | #N/A | #N/A
251 | 0 | #N/A | #N/A | #N/A | #N/A
252 | 0 | #N/A | #N/A | #N/A | #N/A
253 | 0 | #N/A | #N/A | #N/A | #N/A
254 | 0 | #N/A | #N/A | #N/A | #N/A
255 | 0 | #N/A | #N/A | #N/A | #N/A
256 | 0 | #N/A | #N/A | #N/A | #N/A
257 | 0 | #N/A | #N/A | #N/A | #N/A
258 | 0 | #N/A | #N/A | #N/A | #N/A
259 | 0 | #N/A | #N/A | #N/A | #N/A
260 | 0 | #N/A | #N/A | #N/A | #N/A
261 | 0 | #N/A | #N/A | #N/A | #N/A
262 | 0 | #N/A | #N/A | #N/A | #N/A
263 | 0 | #N/A | #N/A | #N/A | #N/A
264 | 0 | #N/A | #N/A | #N/A | #N/A
265 | 0 | #N/A | #N/A | #N/A | #N/A
266 | 0 | #N/A | #N/A | #N/A | #N/A
267 | 0 | #N/A | #N/A | #N/A | #N/A
268 | 0 | #N/A | #N/A | #N/A | #N/A
269 | 0 | #N/A | #N/A | #N/A | #N/A
270 | 0 | #N/A | #N/A | #N/A | #N/A
271 | 0 | #N/A | #N/A | #N/A | #N/A
272 | 0 | #N/A | #N/A | #N/A | #N/A
273 | 0 | #N/A | #N/A | #N/A | #N/A
274 | 0 | #N/A | #N/A | #N/A | #N/A
275 | 0 | #N/A | #N/A | #N/A | #N/A
276 | 0 | #N/A | #N/A | #N/A | #N/A
277 | 0 | #N/A | #N/A | #N/A | #N/A
278 | 0 | #N/A | #N/A | #N/A | #N/A
279 | 0 | #N/A | #N/A | #N/A | #N/A
280 | 0 | #N/A | #N/A | #N/A | #N/A
281 | 0 | #N/A | #N/A | #N/A | #N/A
282 | 0 | #N/A | #N/A | #N/A | #N/A
283 | 0 | #N/A | #N/A | #N/A | #N/A
284 | 0 | #N/A | #N/A | #N/A | #N/A
285 | 0 | #N/A | #N/A | #N/A | #N/A
286 | 0 | #N/A | #N/A | #N/A | #N/A
287 | 0 | #N/A | #N/A | #N/A | #N/A
288 | 0 | #N/A | #N/A | #N/A | #N/A
289 | 0 | #N/A | #N/A | #N/A | #N/A
290 | 0 | #N/A | #N/A | #N/A | #N/A
291 | 0 | #N/A | #N/A | #N/A | #N/A
292 | 0 | #N/A | #N/A | #N/A | #N/A
293 | 0 | #N/A | #N/A | #N/A | #N/A
294 | 0 | #N/A | #N/A | #N/A | #N/A
295 | 0 | #N/A | #N/A | #N/A | #N/A
296 | 0 | #N/A | #N/A | #N/A | #N/A
297 | 0 | #N/A | #N/A | #N/A | #N/A
298 | 0 | #N/A | #N/A | #N/A | #N/A
299 | 0 | #N/A | #N/A | #N/A | #N/A
300 | 0 | #N/A | #N/A | #N/A | #N/A
301 | 0 | #N/A | #N/A | #N/A | #N/A
302 | 0 | #N/A | #N/A | #N/A | #N/A
303 | 0 | #N/A | #N/A | #N/A | #N/A
304 | 0 | #N/A | #N/A | #N/A | #N/A
305 | 0 | #N/A | #N/A | #N/A | #N/A
306 | 0 | #N/A | #N/A | #N/A | #N/A
307 | 0 | #N/A | #N/A | #N/A | #N/A
308 | 0 | #N/A | #N/A | #N/A | #N/A
309 | 0 | #N/A | #N/A | #N/A | #N/A
310 | 0 | #N/A | #N/A | #N/A | #N/A
311 | 0 | #N/A | #N/A | #N/A | #N/A
312 | 0 | #N/A | #N/A | #N/A | #N/A
313 | 0 | #N/A | #N/A | #N/A | #N/A
314 | 0 | #N/A | #N/A | #N/A | #N/A
315 | 0 | #N/A | #N/A | #N/A | #N/A
316 | 0 | #N/A | #N/A | #N/A | #N/A
317 | 0 | #N/A | #N/A | #N/A | #N/A
318 | 0 | #N/A | #N/A | #N/A | #N/A
319 | 0 | #N/A | #N/A | #N/A | #N/A
320 | 0 | #N/A | #N/A | #N/A | #N/A
321 | 0 | #N/A | #N/A | #N/A | #N/A
322 | 0 | #N/A | #N/A | #N/A | #N/A
323 | 0 | #N/A | #N/A | #N/A | #N/A
324 | 0 | #N/A | #N/A | #N/A | #N/A
325 | 0 | #N/A | #N/A | #N/A | #N/A
326 | 0 | #N/A | #N/A | #N/A | #N/A
327 | 0 | #N/A | #N/A | #N/A | #N/A
328 | 0 | #N/A | #N/A | #N/A | #N/A
329 | 0 | #N/A | #N/A | #N/A | #N/A
330 | 0 | #N/A | #N/A | #N/A | #N/A
331 | 0 | #N/A | #N/A | #N/A | #N/A
332 | 0 | #N/A | #N/A | #N/A | #N/A
333 | 0 | #N/A | #N/A | #N/A | #N/A
334 | 0 | #N/A | #N/A | #N/A | #N/A
335 | 0 | #N/A | #N/A | #N/A | #N/A
336 | 0 | #N/A | #N/A | #N/A | #N/A
337 | 0 | #N/A | #N/A | #N/A | #N/A
338 | 0 | #N/A | #N/A | #N/A | #N/A
339 | 0 | #N/A | #N/A | #N/A | #N/A
340 | 0 | #N/A | #N/A | #N/A | #N/A
341 | 0 | #N/A | #N/A | #N/A | #N/A
342 | 0 | #N/A | #N/A | #N/A | #N/A
343 | 0 | #N/A | #N/A | #N/A | #N/A
344 | 0 | #N/A | #N/A | #N/A | #N/A
345 | 0 | #N/A | #N/A | #N/A | #N/A
346 | 0 | #N/A | #N/A | #N/A | #N/A
347 | 0 | #N/A | #N/A | #N/A | #N/A
348 | 0 | #N/A | #N/A | #N/A | #N/A
349 | 0 | #N/A | #N/A | #N/A | #N/A
350 | 0 | #N/A | #N/A | #N/A | #N/A
351 | 0 | #N/A | #N/A | #N/A | #N/A
352 | 0 | #N/A | #N/A | #N/A | #N/A
353 | 0 | #N/A | #N/A | #N/A | #N/A
354 | 0 | #N/A | #N/A | #N/A | #N/A
355 | 0 | #N/A | #N/A | #N/A | #N/A
356 | 0 | #N/A | #N/A | #N/A | #N/A
357 | 0 | #N/A | #N/A | #N/A | #N/A
358 | 0 | #N/A | #N/A | #N/A | #N/A
359 | 0 | #N/A | #N/A | #N/A | #N/A
360 | 0 | #N/A | #N/A | #N/A | #N/A
361 | 0 | #N/A | #N/A | #N/A | #N/A
362 | 0 | #N/A | #N/A | #N/A | #N/A
363 | 0 | #N/A | #N/A | #N/A | #N/A
364 | 0 | #N/A | #N/A | #N/A | #N/A
365 | 0 | #N/A | #N/A | #N/A | #N/A
366 | 0 | #N/A | #N/A | #N/A | #N/A
367 | 0 | #N/A | #N/A | #N/A | #N/A
368 | 0 | #N/A | #N/A | #N/A | #N/A
369 | 0 | #N/A | #N/A | #N/A | #N/A
370 | 0 | #N/A | #N/A | #N/A | #N/A
371 | 0 | #N/A | #N/A | #N/A | #N/A
372 | 0 | #N/A | #N/A | #N/A | #N/A
373 | 0 | #N/A | #N/A | #N/A | #N/A
374 | 0 | #N/A | #N/A | #N/A | #N/A
375 | 0 | #N/A | #N/A | #N/A | #N/A
376 | 0 | #N/A | #N/A | #N/A | #N/A
377 | 0 | #N/A | #N/A | #N/A | #N/A
378 | 0 | #N/A | #N/A | #N/A | #N/A
379 | 0 | #N/A | #N/A | #N/A | #N/A
380 | 0 | #N/A | #N/A | #N/A | #N/A
381 | 0 | #N/A | #N/A | #N/A | #N/A
382 | 0 | #N/A | #N/A | #N/A | #N/A
383 | 0 | #N/A | #N/A | #N/A | #N/A
384 | 0 | #N/A | #N/A | #N/A | #N/A
385 | 0 | #N/A | #N/A | #N/A | #N/A
386 | 0 | #N/A | #N/A | #N/A | #N/A
387 | 0 | #N/A | #N/A | #N/A | #N/A
388 | 0 | #N/A | #N/A | #N/A | #N/A
389 | 0 | #N/A | #N/A | #N/A | #N/A
390 | 0 | #N/A | #N/A | #N/A | #N/A
391 | 0 | #N/A | #N/A | #N/A | #N/A
392 | 0 | #N/A | #N/A | #N/A | #N/A
393 | 0 | #N/A | #N/A | #N/A | #N/A
394 | 0 | #N/A | #N/A | #N/A | #N/A
395 | 0 | #N/A | #N/A | #N/A | #N/A
396 | 0 | #N/A | #N/A | #N/A | #N/A
397 | 0 | #N/A | #N/A | #N/A | #N/A
398 | 0 | #N/A | #N/A | #N/A | #N/A
399 | 0 | #N/A | #N/A | #N/A | #N/A
400 | 0 | #N/A | #N/A | #N/A | #N/A
401 | 0 | #N/A | #N/A | #N/A | #N/A
402 | 0 | #N/A | #N/A | #N/A | #N/A
403 | 0 | #N/A | #N/A | #N/A | #N/A
404 | 0 | #N/A | #N/A | #N/A | #N/A
405 | 0 | #N/A | #N/A | #N/A | #N/A
406 | 0 | #N/A | #N/A | #N/A | #N/A
407 | 0 | #N/A | #N/A | #N/A | #N/A
408 | 0 | #N/A | #N/A | #N/A | #N/A
409 | 0 | #N/A | #N/A | #N/A | #N/A
410 | 0 | #N/A | #N/A | #N/A | #N/A
411 | 0 | #N/A | #N/A | #N/A | #N/A
412 | 0 | #N/A | #N/A | #N/A | #N/A
413 | 0 | #N/A | #N/A | #N/A | #N/A
414 | 0 | #N/A | #N/A | #N/A | #N/A
415 | 0 | #N/A | #N/A | #N/A | #N/A
416 | 0 | #N/A | #N/A | #N/A | #N/A
417 | 0 | #N/A | #N/A | #N/A | #N/A
418 | 0 | #N/A | #N/A | #N/A | #N/A
419 | 0 | #N/A | #N/A | #N/A | #N/A
420 | 0 | #N/A | #N/A | #N/A | #N/A
421 | 0 | #N/A | #N/A | #N/A | #N/A
422 | 0 | #N/A | #N/A | #N/A | #N/A
423 | 0 | #N/A | #N/A | #N/A | #N/A
424 | 0 | #N/A | #N/A | #N/A | #N/A
425 | 0 | #N/A | #N/A | #N/A | #N/A
426 | 0 | #N/A | #N/A | #N/A | #N/A
427 | 0 | #N/A | #N/A | #N/A | #N/A
428 | 0 | #N/A | #N/A | #N/A | #N/A
429 | 0 | #N/A | #N/A | #N/A | #N/A
430 | 0 | #N/A | #N/A | #N/A | #N/A
431 | 0 | #N/A | #N/A | #N/A | #N/A
432 | 0 | #N/A | #N/A | #N/A | #N/A
433 | 0 | #N/A | #N/A | #N/A | #N/A
434 | 0 | #N/A | #N/A | #N/A | #N/A
435 | 0 | #N/A | #N/A | #N/A | #N/A
436 | 0 | #N/A | #N/A | #N/A | #N/A
437 | 0 | #N/A | #N/A | #N/A | #N/A
438 | 0 | #N/A | #N/A | #N/A | #N/A
439 | 0 | #N/A | #N/A | #N/A | #N/A
440 | 0 | #N/A | #N/A | #N/A | #N/A
441 | 0 | #N/A | #N/A | #N/A | #N/A
442 | 0 | #N/A | #N/A | #N/A | #N/A
443 | 0 | #N/A | #N/A | #N/A | #N/A
444 | 0 | #N/A | #N/A | #N/A | #N/A
445 | 0 | #N/A | #N/A | #N/A | #N/A
446 | 0 | #N/A | #N/A | #N/A | #N/A
447 | 0 | #N/A | #N/A | #N/A | #N/A
448 | 0 | #N/A | #N/A | #N/A | #N/A
449 | 0 | #N/A | #N/A | #N/A | #N/A
450 | 0 | #N/A | #N/A | #N/A | #N/A
451 | 0 | #N/A | #N/A | #N/A | #N/A
452 | 0 | #N/A | #N/A | #N/A | #N/A
453 | 0 | #N/A | #N/A | #N/A | #N/A
454 | 0 | #N/A | #N/A | #N/A | #N/A
455 | 0 | #N/A | #N/A | #N/A | #N/A
456 | 0 | #N/A | #N/A | #N/A | #N/A
457 | 0 | #N/A | #N/A | #N/A | #N/A
458 | 0 | #N/A | #N/A | #N/A | #N/A
459 | 0 | #N/A | #N/A | #N/A | #N/A
460 | 0 | #N/A | #N/A | #N/A | #N/A
461 | 0 | #N/A | #N/A | #N/A | #N/A
462 | 0 | #N/A | #N/A | #N/A | #N/A
463 | 0 | #N/A | #N/A | #N/A | #N/A
464 | 0 | #N/A | #N/A | #N/A | #N/A
465 | 0 | #N/A | #N/A | #N/A | #N/A
466 | 0 | #N/A | #N/A | #N/A | #N/A
467 | 0 | #N/A | #N/A | #N/A | #N/A
468 | 0 | #N/A | #N/A | #N/A | #N/A
469 | 0 | #N/A | #N/A | #N/A | #N/A
470 | 0 | #N/A | #N/A | #N/A | #N/A
471 | 0 | #N/A | #N/A | #N/A | #N/A
472 | 0 | #N/A | #N/A | #N/A | #N/A
473 | 0 | #N/A | #N/A | #N/A | #N/A
474 | 0 | #N/A | #N/A | #N/A | #N/A
475 | 0 | #N/A | #N/A | #N/A | #N/A
476 | 0 | #N/A | #N/A | #N/A | #N/A
477 | 0 | #N/A | #N/A | #N/A | #N/A
478 | 0 | #N/A | #N/A | #N/A | #N/A
479 | 0 | #N/A | #N/A | #N/A | #N/A
480 | 0 | #N/A | #N/A | #N/A | #N/A
481 | 0 | #N/A | #N/A | #N/A | #N/A
482 | 0 | #N/A | #N/A | #N/A | #N/A
483 | 0 | #N/A | #N/A | #N/A | #N/A
484 | 0 | #N/A | #N/A | #N/A | #N/A
485 | 0 | #N/A | #N/A | #N/A | #N/A
486 | 0 | #N/A | #N/A | #N/A | #N/A
487 | 0 | #N/A | #N/A | #N/A | #N/A
488 | 0 | #N/A | #N/A | #N/A | #N/A
489 | 0 | #N/A | #N/A | #N/A | #N/A
490 | 0 | #N/A | #N/A | #N/A | #N/A
491 | 0 | #N/A | #N/A | #N/A | #N/A
492 | 0 | #N/A | #N/A | #N/A | #N/A
493 | 0 | #N/A | #N/A | #N/A | #N/A
494 | 0 | #N/A | #N/A | #N/A | #N/A
495 | 0 | #N/A | #N/A | #N/A | #N/A
496 | 0 | #N/A | #N/A | #N/A | #N/A
497 | 0 | #N/A | #N/A | #N/A | #N/A
498 | 0 | #N/A | #N/A | #N/A | #N/A
499 | 0 | #N/A | #N/A | #N/A | #N/A
500 | 0 | #N/A | #N/A | #N/A | #N/A
501 | 0 | #N/A | #N/A | #N/A | #N/A
502 | 0 | #N/A | #N/A | #N/A | #N/A
503 | 0 | #N/A | #N/A | #N/A | #N/A
504 | 0 | #N/A | #N/A | #N/A | #N/A
505 | 0 | #N/A | #N/A | #N/A | #N/A
506 | 0 | #N/A | #N/A | #N/A | #N/A
507 | 0 | #N/A | #N/A | #N/A | #N/A
508 | 0 | #N/A | #N/A | #N/A | #N/A
509 | 0 | #N/A | #N/A | #N/A | #N/A
510 | 0 | #N/A | #N/A | #N/A | #N/A
511 | 0 | #N/A | #N/A | #N/A | #N/A
512 | 0 | #N/A | #N/A | #N/A | #N/A
513 | 0 | #N/A | #N/A | #N/A | #N/A
514 | 0 | #N/A | #N/A | #N/A | #N/A
515 | 0 | #N/A | #N/A | #N/A | #N/A
516 | 0 | #N/A | #N/A | #N/A | #N/A
517 | 0 | #N/A | #N/A | #N/A | #N/A
518 | 0 | #N/A | #N/A | #N/A | #N/A
519 | 0 | #N/A | #N/A | #N/A | #N/A
520 | 0 | #N/A | #N/A | #N/A | #N/A
521 | 0 | #N/A | #N/A | #N/A | #N/A
522 | 0 | #N/A | #N/A | #N/A | #N/A
523 | 0 | #N/A | #N/A | #N/A | #N/A
524 | 0 | #N/A | #N/A | #N/A | #N/A
525 | 0 | #N/A | #N/A | #N/A | #N/A
526 | 0 | #N/A | #N/A | #N/A | #N/A
527 | 0 | #N/A | #N/A | #N/A | #N/A
528 | 0 | #N/A | #N/A | #N/A | #N/A
529 | 0 | #N/A | #N/A | #N/A | #N/A
530 | 0 | #N/A | #N/A | #N/A | #N/A
531 | 0 | #N/A | #N/A | #N/A | #N/A
532 | 0 | #N/A | #N/A | #N/A | #N/A
533 | 0 | #N/A | #N/A | #N/A | #N/A
534 | 0 | #N/A | #N/A | #N/A | #N/A
535 | 0 | #N/A | #N/A | #N/A | #N/A
536 | 0 | #N/A | #N/A | #N/A | #N/A
537 | 0 | #N/A | #N/A | #N/A | #N/A
538 | 0 | #N/A | #N/A | #N/A | #N/A
539 | 0 | #N/A | #N/A | #N/A | #N/A
540 | 0 | #N/A | #N/A | #N/A | #N/A
541 | 0 | #N/A | #N/A | #N/A | #N/A
542 | 0 | #N/A | #N/A | #N/A | #N/A
543 | 0 | #N/A | #N/A | #N/A | #N/A
544 | 0 | #N/A | #N/A | #N/A | #N/A
545 | 0 | #N/A | #N/A | #N/A | #N/A
546 | 0 | #N/A | #N/A | #N/A | #N/A
547 | 0 | #N/A | #N/A | #N/A | #N/A
548 | 0 | #N/A | #N/A | #N/A | #N/A
549 | 0 | #N/A | #N/A | #N/A | #N/A
550 | 0 | #N/A | #N/A | #N/A | #N/A
551 | 0 | #N/A | #N/A | #N/A | #N/A
552 | 0 | #N/A | #N/A | #N/A | #N/A
553 | 0 | #N/A | #N/A | #N/A | #N/A
554 | 0 | #N/A | #N/A | #N/A | #N/A
555 | 0 | #N/A | #N/A | #N/A | #N/A
556 | 0 | #N/A | #N/A | #N/A | #N/A
557 | 0 | #N/A | #N/A | #N/A | #N/A
558 | 0 | #N/A | #N/A | #N/A | #N/A
559 | 0 | #N/A | #N/A | #N/A | #N/A
560 | 0 | #N/A | #N/A | #N/A | #N/A
561 | 0 | #N/A | #N/A | #N/A | #N/A
562 | 0 | #N/A | #N/A | #N/A | #N/A
563 | 0 | #N/A | #N/A | #N/A | #N/A
564 | 0 | #N/A | #N/A | #N/A | #N/A
565 | 0 | #N/A | #N/A | #N/A | #N/A
566 | 0 | #N/A | #N/A | #N/A | #N/A
567 | 0 | #N/A | #N/A | #N/A | #N/A
568 | 0 | #N/A | #N/A | #N/A | #N/A
569 | 0 | #N/A | #N/A | #N/A | #N/A
570 | 0 | #N/A | #N/A | #N/A | #N/A
571 | 0 | #N/A | #N/A | #N/A | #N/A
572 | 0 | #N/A | #N/A | #N/A | #N/A
573 | 0 | #N/A | #N/A | #N/A | #N/A
574 | 0 | #N/A | #N/A | #N/A | #N/A
575 | 0 | #N/A | #N/A | #N/A | #N/A
576 | 0 | #N/A | #N/A | #N/A | #N/A
577 | 0 | #N/A | #N/A | #N/A | #N/A
578 | 0 | #N/A | #N/A | #N/A | #N/A
579 | 0 | #N/A | #N/A | #N/A | #N/A
580 | 0 | #N/A | #N/A | #N/A | #N/A
581 | 0 | #N/A | #N/A | #N/A | #N/A
582 | 0 | #N/A | #N/A | #N/A | #N/A
583 | 0 | #N/A | #N/A | #N/A | #N/A
584 | 0 | #N/A | #N/A | #N/A | #N/A
585 | 0 | #N/A | #N/A | #N/A | #N/A
586 | 0 | #N/A | #N/A | #N/A | #N/A
587 | 0 | #N/A | #N/A | #N/A | #N/A
588 | 0 | #N/A | #N/A | #N/A | #N/A
589 | 0 | #N/A | #N/A | #N/A | #N/A
590 | 0 | #N/A | #N/A | #N/A | #N/A
591 | 0 | #N/A | #N/A | #N/A | #N/A
592 | 0 | #N/A | #N/A | #N/A | #N/A
593 | 0 | #N/A | #N/A | #N/A | #N/A
594 | 0 | #N/A | #N/A | #N/A | #N/A
595 | 0 | #N/A | #N/A | #N/A | #N/A
596 | 0 | #N/A | #N/A | #N/A | #N/A
597 | 0 | #N/A | #N/A | #N/A | #N/A
598 | 0 | #N/A | #N/A | #N/A | #N/A
599 | 0 | #N/A | #N/A | #N/A | #N/A
600 | 0 | #N/A | #N/A | #N/A | #N/A
601 | 0 | #N/A | #N/A | #N/A | #N/A
602 | 0 | #N/A | #N/A | #N/A | #N/A
603 | 0 | #N/A | #N/A | #N/A | #N/A
604 | 0 | #N/A | #N/A | #N/A | #N/A
605 | 0 | #N/A | #N/A | #N/A | #N/A
606 | 0 | #N/A | #N/A | #N/A | #N/A
607 | 0 | #N/A | #N/A | #N/A | #N/A
608 | 0 | #N/A | #N/A | #N/A | #N/A
609 | 0 | #N/A | #N/A | #N/A | #N/A
610 | 0 | #N/A | #N/A | #N/A | #N/A
611 | 0 | #N/A | #N/A | #N/A | #N/A
612 | 0 | #N/A | #N/A | #N/A | #N/A
613 | 0 | #N/A | #N/A | #N/A | #N/A
614 | 0 | #N/A | #N/A | #N/A | #N/A
615 | 0 | #N/A | #N/A | #N/A | #N/A
616 | 0 | #N/A | #N/A | #N/A | #N/A
617 | 0 | #N/A | #N/A | #N/A | #N/A
618 | 0 | #N/A | #N/A | #N/A | #N/A
619 | 0 | #N/A | #N/A | #N/A | #N/A
620 | 0 | #N/A | #N/A | #N/A | #N/A
621 | 0 | #N/A | #N/A | #N/A | #N/A
622 | 0 | #N/A | #N/A | #N/A | #N/A
623 | 0 | #N/A | #N/A | #N/A | #N/A
624 | 0 | #N/A | #N/A | #N/A | #N/A
625 | 0 | #N/A | #N/A | #N/A | #N/A
626 | 0 | #N/A | #N/A | #N/A | #N/A
627 | 0 | #N/A | #N/A | #N/A | #N/A
628 | 0 | #N/A | #N/A | #N/A | #N/A
629 | 0 | #N/A | #N/A | #N/A | #N/A
630 | 0 | #N/A | #N/A | #N/A | #N/A
631 | 0 | #N/A | #N/A | #N/A | #N/A
632 | 0 | #N/A | #N/A | #N/A | #N/A
633 | 0 | #N/A | #N/A | #N/A | #N/A
634 | 0 | #N/A | #N/A | #N/A | #N/A
635 | 0 | #N/A | #N/A | #N/A | #N/A
636 | 0 | #N/A | #N/A | #N/A | #N/A
637 | 0 | #N/A | #N/A | #N/A | #N/A
638 | 0 | #N/A | #N/A | #N/A | #N/A
639 | 0 | #N/A | #N/A | #N/A | #N/A
640 | 0 | #N/A | #N/A | #N/A | #N/A
641 | 0 | #N/A | #N/A | #N/A | #N/A
642 | 0 | #N/A | #N/A | #N/A | #N/A
643 | 0 | #N/A | #N/A | #N/A | #N/A
644 | 0 | #N/A | #N/A | #N/A | #N/A
645 | 0 | #N/A | #N/A | #N/A | #N/A
646 | 0 | #N/A | #N/A | #N/A | #N/A
647 | 0 | #N/A | #N/A | #N/A | #N/A
648 | 0 | #N/A | #N/A | #N/A | #N/A
649 | 0 | #N/A | #N/A | #N/A | #N/A
650 | 0 | #N/A | #N/A | #N/A | #N/A
651 | 0 | #N/A | #N/A | #N/A | #N/A
652 | 0 | #N/A | #N/A | #N/A | #N/A
653 | 0 | #N/A | #N/A | #N/A | #N/A
654 | 0 | #N/A | #N/A | #N/A | #N/A
655 | 0 | #N/A | #N/A | #N/A | #N/A
656 | 0 | #N/A | #N/A | #N/A | #N/A
657 | 0 | #N/A | #N/A | #N/A | #N/A
658 | 0 | #N/A | #N/A | #N/A | #N/A
659 | 0 | #N/A | #N/A | #N/A | #N/A
660 | 0 | #N/A | #N/A | #N/A | #N/A
661 | 0 | #N/A | #N/A | #N/A | #N/A
662 | 0 | #N/A | #N/A | #N/A | #N/A
663 | 0 | #N/A | #N/A | #N/A | #N/A
664 | 0 | #N/A | #N/A | #N/A | #N/A
665 | 0 | #N/A | #N/A | #N/A | #N/A
666 | 0 | #N/A | #N/A | #N/A | #N/A
667 | 0 | #N/A | #N/A | #N/A | #N/A
668 | 0 | #N/A | #N/A | #N/A | #N/A
669 | 0 | #N/A | #N/A | #N/A | #N/A
670 | 0 | #N/A | #N/A | #N/A | #N/A
671 | 0 | #N/A | #N/A | #N/A | #N/A
672 | 0 | #N/A | #N/A | #N/A | #N/A
673 | 0 | #N/A | #N/A | #N/A | #N/A
674 | 0 | #N/A | #N/A | #N/A | #N/A
675 | 0 | #N/A | #N/A | #N/A | #N/A
676 | 0 | #N/A | #N/A | #N/A | #N/A
677 | 0 | #N/A | #N/A | #N/A | #N/A
678 | 0 | #N/A | #N/A | #N/A | #N/A
679 | 0 | #N/A | #N/A | #N/A | #N/A
680 | 0 | #N/A | #N/A | #N/A | #N/A
681 | 0 | #N/A | #N/A | #N/A | #N/A
682 | 0 | #N/A | #N/A | #N/A | #N/A
683 | 0 | #N/A | #N/A | #N/A | #N/A
684 | 0 | #N/A | #N/A | #N/A | #N/A
685 | 0 | #N/A | #N/A | #N/A | #N/A
686 | 0 | #N/A | #N/A | #N/A | #N/A
687 | 0 | #N/A | #N/A | #N/A | #N/A
688 | 0 | #N/A | #N/A | #N/A | #N/A
689 | 0 | #N/A | #N/A | #N/A | #N/A
690 | 0 | #N/A | #N/A | #N/A | #N/A
691 | 0 | #N/A | #N/A | #N/A | #N/A
692 | 0 | #N/A | #N/A | #N/A | #N/A
693 | 0 | #N/A | #N/A | #N/A | #N/A
694 | 0 | #N/A | #N/A | #N/A | #N/A
695 | 0 | #N/A | #N/A | #N/A | #N/A
696 | 0 | #N/A | #N/A | #N/A | #N/A
697 | 0 | #N/A | #N/A | #N/A | #N/A
698 | 0 | #N/A | #N/A | #N/A | #N/A
699 | 0 | #N/A | #N/A | #N/A | #N/A
700 | 0 | #N/A | #N/A | #N/A | #N/A
701 | 0 | #N/A | #N/A | #N/A | #N/A
702 | 0 | #N/A | #N/A | #N/A | #N/A
703 | 0 | #N/A | #N/A | #N/A | #N/A
704 | 0 | #N/A | #N/A | #N/A | #N/A
705 | 0 | #N/A | #N/A | #N/A | #N/A
706 | 0 | #N/A | #N/A | #N/A | #N/A
707 | 0 | #N/A | #N/A | #N/A | #N/A
708 | 0 | #N/A | #N/A | #N/A | #N/A
709 | 0 | #N/A | #N/A | #N/A | #N/A
710 | 0 | #N/A | #N/A | #N/A | #N/A
711 | 0 | #N/A | #N/A | #N/A | #N/A
712 | 0 | #N/A | #N/A | #N/A | #N/A
713 | 0 | #N/A | #N/A | #N/A | #N/A
714 | 0 | #N/A | #N/A | #N/A | #N/A
715 | 0 | #N/A | #N/A | #N/A | #N/A
716 | 0 | #N/A | #N/A | #N/A | #N/A
717 | 0 | #N/A | #N/A | #N/A | #N/A
718 | 0 | #N/A | #N/A | #N/A | #N/A
719 | 0 | #N/A | #N/A | #N/A | #N/A
720 | 0 | #N/A | #N/A | #N/A | #N/A
721 | 0 | #N/A | #N/A | #N/A | #N/A
722 | 0 | #N/A | #N/A | #N/A | #N/A
723 | 0 | #N/A | #N/A | #N/A | #N/A
724 | 0 | #N/A | #N/A | #N/A | #N/A
725 | 0 | #N/A | #N/A | #N/A | #N/A
726 | 0 | #N/A | #N/A | #N/A | #N/A
727 | 0 | #N/A | #N/A | #N/A | #N/A
728 | 0 | #N/A | #N/A | #N/A | #N/A
729 | 0 | #N/A | #N/A | #N/A | #N/A
730 | 0 | #N/A | #N/A | #N/A | #N/A
731 | 0 | #N/A | #N/A | #N/A | #N/A
732 | 0 | #N/A | #N/A | #N/A | #N/A
733 | 0 | #N/A | #N/A | #N/A | #N/A
734 | 0 | #N/A | #N/A | #N/A | #N/A
735 | 0 | #N/A | #N/A | #N/A | #N/A
736 | 0 | #N/A | #N/A | #N/A | #N/A
737 | 0 | #N/A | #N/A | #N/A | #N/A
738 | 0 | #N/A | #N/A | #N/A | #N/A
739 | 0 | #N/A | #N/A | #N/A | #N/A
740 | 0 | #N/A | #N/A | #N/A | #N/A
741 | 0 | #N/A | #N/A | #N/A | #N/A
742 | 0 | #N/A | #N/A | #N/A | #N/A
743 | 0 | #N/A | #N/A | #N/A | #N/A
744 | 0 | #N/A | #N/A | #N/A | #N/A
745 | 0 | #N/A | #N/A | #N/A | #N/A
746 | 0 | #N/A | #N/A | #N/A | #N/A
747 | 0 | #N/A | #N/A | #N/A | #N/A
748 | 0 | #N/A | #N/A | #N/A | #N/A
749 | 0 | #N/A | #N/A | #N/A | #N/A
750 | 0 | #N/A | #N/A | #N/A | #N/A
751 | 0 | #N/A | #N/A | #N/A | #N/A
752 | 0 | #N/A | #N/A | #N/A | #N/A
753 | 0 | #N/A | #N/A | #N/A | #N/A
754 | 0 | #N/A | #N/A | #N/A | #N/A
755 | 0 | #N/A | #N/A | #N/A | #N/A
756 | 0 | #N/A | #N/A | #N/A | #N/A
757 | 0 | #N/A | #N/A | #N/A | #N/A
758 | 0 | #N/A | #N/A | #N/A | #N/A
759 | 0 | #N/A | #N/A | #N/A | #N/A
760 | 0 | #N/A | #N/A | #N/A | #N/A
761 | 0 | #N/A | #N/A | #N/A | #N/A
762 | 0 | #N/A | #N/A | #N/A | #N/A
763 | 0 | #N/A | #N/A | #N/A | #N/A
764 | 0 | #N/A | #N/A | #N/A | #N/A
765 | 0 | #N/A | #N/A | #N/A | #N/A
766 | 0 | #N/A | #N/A | #N/A | #N/A
767 | 0 | #N/A | #N/A | #N/A | #N/A
768 | 0 | #N/A | #N/A | #N/A | #N/A
769 | 0 | #N/A | #N/A | #N/A | #N/A
770 | 0 | #N/A | #N/A | #N/A | #N/A
771 | 0 | #N/A | #N/A | #N/A | #N/A
772 | 0 | #N/A | #N/A | #N/A | #N/A
773 | 0 | #N/A | #N/A | #N/A | #N/A
774 | 0 | #N/A | #N/A | #N/A | #N/A
775 | 0 | #N/A | #N/A | #N/A | #N/A
776 | 0 | #N/A | #N/A | #N/A | #N/A
777 | 0 | #N/A | #N/A | #N/A | #N/A
778 | 0 | #N/A | #N/A | #N/A | #N/A
779 | 0 | #N/A | #N/A | #N/A | #N/A
780 | 0 | #N/A | #N/A | #N/A | #N/A
781 | 0 | #N/A | #N/A | #N/A | #N/A
782 | 0 | #N/A | #N/A | #N/A | #N/A
783 | 0 | #N/A | #N/A | #N/A | #N/A
784 | 0 | #N/A | #N/A | #N/A | #N/A
785 | 0 | #N/A | #N/A | #N/A | #N/A
786 | 0 | #N/A | #N/A | #N/A | #N/A
787 | 0 | #N/A | #N/A | #N/A | #N/A
788 | 0 | #N/A | #N/A | #N/A | #N/A
789 | 0 | #N/A | #N/A | #N/A | #N/A
790 | 0 | #N/A | #N/A | #N/A | #N/A
791 | 0 | #N/A | #N/A | #N/A | #N/A
792 | 0 | #N/A | #N/A | #N/A | #N/A
793 | 0 | #N/A | #N/A | #N/A | #N/A
794 | 0 | #N/A | #N/A | #N/A | #N/A
795 | 0 | #N/A | #N/A | #N/A | #N/A
796 | 0 | #N/A | #N/A | #N/A | #N/A
797 | 0 | #N/A | #N/A | #N/A | #N/A
798 | 0 | #N/A | #N/A | #N/A | #N/A
799 | 0 | #N/A | #N/A | #N/A | #N/A
800 | 0 | #N/A | #N/A | #N/A | #N/A
801 | 0 | #N/A | #N/A | #N/A | #N/A
802 | 0 | #N/A | #N/A | #N/A | #N/A
803 | 0 | #N/A | #N/A | #N/A | #N/A
804 | 0 | #N/A | #N/A | #N/A | #N/A
805 | 0 | #N/A | #N/A | #N/A | #N/A
806 | 0 | #N/A | #N/A | #N/A | #N/A
807 | 0 | #N/A | #N/A | #N/A | #N/A
808 | 0 | #N/A | #N/A | #N/A | #N/A
809 | 0 | #N/A | #N/A | #N/A | #N/A
810 | 0 | #N/A | #N/A | #N/A | #N/A
811 | 0 | #N/A | #N/A | #N/A | #N/A
812 | 0 | #N/A | #N/A | #N/A | #N/A
813 | 0 | #N/A | #N/A | #N/A | #N/A
814 | 0 | #N/A | #N/A | #N/A | #N/A
815 | 0 | #N/A | #N/A | #N/A | #N/A
816 | 0 | #N/A | #N/A | #N/A | #N/A
817 | 0 | #N/A | #N/A | #N/A | #N/A
818 | 0 | #N/A | #N/A | #N/A | #N/A
819 | 0 | #N/A | #N/A | #N/A | #N/A
820 | 0 | #N/A | #N/A | #N/A | #N/A
821 | 0 | #N/A | #N/A | #N/A | #N/A
822 | 0 | #N/A | #N/A | #N/A | #N/A
823 | 0 | #N/A | #N/A | #N/A | #N/A
824 | 0 | #N/A | #N/A | #N/A | #N/A
825 | 0 | #N/A | #N/A | #N/A | #N/A
826 | 0 | #N/A | #N/A | #N/A | #N/A
827 | 0 | #N/A | #N/A | #N/A | #N/A
828 | 0 | #N/A | #N/A | #N/A | #N/A
829 | 0 | #N/A | #N/A | #N/A | #N/A
830 | 0 | #N/A | #N/A | #N/A | #N/A
831 | 0 | #N/A | #N/A | #N/A | #N/A
832 | 0 | #N/A | #N/A | #N/A | #N/A
833 | 0 | #N/A | #N/A | #N/A | #N/A
834 | 0 | #N/A | #N/A | #N/A | #N/A
835 | 0 | #N/A | #N/A | #N/A | #N/A
836 | 0 | #N/A | #N/A | #N/A | #N/A
837 | 0 | #N/A | #N/A | #N/A | #N/A
838 | 0 | #N/A | #N/A | #N/A | #N/A
839 | 0 | #N/A | #N/A | #N/A | #N/A
840 | 0 | #N/A | #N/A | #N/A | #N/A
841 | 0 | #N/A | #N/A | #N/A | #N/A
842 | 0 | #N/A | #N/A | #N/A | #N/A
843 | 0 | #N/A | #N/A | #N/A | #N/A
844 | 0 | #N/A | #N/A | #N/A | #N/A
845 | 0 | #N/A | #N/A | #N/A | #N/A
846 | 0 | #N/A | #N/A | #N/A | #N/A
847 | 0 | #N/A | #N/A | #N/A | #N/A
848 | 0 | #N/A | #N/A | #N/A | #N/A
849 | 0 | #N/A | #N/A | #N/A | #N/A
850 | 0 | #N/A | #N/A | #N/A | #N/A
851 | 0 | #N/A | #N/A | #N/A | #N/A
852 | 0 | #N/A | #N/A | #N/A | #N/A
853 | 0 | #N/A | #N/A | #N/A | #N/A
854 | 0 | #N/A | #N/A | #N/A | #N/A
855 | 0 | #N/A | #N/A | #N/A | #N/A
856 | 0 | #N/A | #N/A | #N/A | #N/A
857 | 0 | #N/A | #N/A | #N/A | #N/A
858 | 0 | #N/A | #N/A | #N/A | #N/A
859 | 0 | #N/A | #N/A | #N/A | #N/A
860 | 0 | #N/A | #N/A | #N/A | #N/A
861 | 0 | #N/A | #N/A | #N/A | #N/A
862 | 0 | #N/A | #N/A | #N/A | #N/A
863 | 0 | #N/A | #N/A | #N/A | #N/A
864 | 0 | #N/A | #N/A | #N/A | #N/A
865 | 0 | #N/A | #N/A | #N/A | #N/A
866 | 0 | #N/A | #N/A | #N/A | #N/A
867 | 0 | #N/A | #N/A | #N/A | #N/A
868 | 0 | #N/A | #N/A | #N/A | #N/A
869 | 0 | #N/A | #N/A | #N/A | #N/A
870 | 0 | #N/A | #N/A | #N/A | #N/A
871 | 0 | #N/A | #N/A | #N/A | #N/A
872 | 0 | #N/A | #N/A | #N/A | #N/A
873 | 0 | #N/A | #N/A | #N/A | #N/A
874 | 0 | #N/A | #N/A | #N/A | #N/A
875 | 0 | #N/A | #N/A | #N/A | #N/A
876 | 0 | #N/A | #N/A | #N/A | #N/A
877 | 0 | #N/A | #N/A | #N/A | #N/A
878 | 0 | #N/A | #N/A | #N/A | #N/A
879 | 0 | #N/A | #N/A | #N/A | #N/A
880 | 0 | #N/A | #N/A | #N/A | #N/A
881 | 0 | #N/A | #N/A | #N/A | #N/A
882 | 0 | #N/A | #N/A | #N/A | #N/A
883 | 0 | #N/A | #N/A | #N/A | #N/A
884 | 0 | #N/A | #N/A | #N/A | #N/A
885 | 0 | #N/A | #N/A | #N/A | #N/A
886 | 0 | #N/A | #N/A | #N/A | #N/A
887 | 0 | #N/A | #N/A | #N/A | #N/A
888 | 0 | #N/A | #N/A | #N/A | #N/A
889 | 0 | #N/A | #N/A | #N/A | #N/A
890 | 0 | #N/A | #N/A | #N/A | #N/A
891 | 0 | #N/A | #N/A | #N/A | #N/A
892 | 0 | #N/A | #N/A | #N/A | #N/A
893 | 0 | #N/A | #N/A | #N/A | #N/A
894 | 0 | #N/A | #N/A | #N/A | #N/A
895 | 0 | #N/A | #N/A | #N/A | #N/A
896 | 0 | #N/A | #N/A | #N/A | #N/A
897 | 0 | #N/A | #N/A | #N/A | #N/A
898 | 0 | #N/A | #N/A | #N/A | #N/A
899 | 0 | #N/A | #N/A | #N/A | #N/A
900 | 0 | #N/A | #N/A | #N/A | #N/A
901 | 0 | #N/A | #N/A | #N/A | #N/A
902 | 0 | #N/A | #N/A | #N/A | #N/A
903 | 0 | #N/A | #N/A | #N/A | #N/A
904 | 0 | #N/A | #N/A | #N/A | #N/A
905 | 0 | #N/A | #N/A | #N/A | #N/A
906 | 0 | #N/A | #N/A | #N/A | #N/A
907 | 0 | #N/A | #N/A | #N/A | #N/A
908 | 0 | #N/A | #N/A | #N/A | #N/A
909 | 0 | #N/A | #N/A | #N/A | #N/A
910 | 0 | #N/A | #N/A | #N/A | #N/A
911 | 0 | #N/A | #N/A | #N/A | #N/A
912 | 0 | #N/A | #N/A | #N/A | #N/A
913 | 0 | #N/A | #N/A | #N/A | #N/A
914 | 0 | #N/A | #N/A | #N/A | #N/A
915 | 0 | #N/A | #N/A | #N/A | #N/A
916 | 0 | #N/A | #N/A | #N/A | #N/A
917 | 0 | #N/A | #N/A | #N/A | #N/A
918 | 0 | #N/A | #N/A | #N/A | #N/A
919 | 0 | #N/A | #N/A | #N/A | #N/A
920 | 0 | #N/A | #N/A | #N/A | #N/A
921 | 0 | #N/A | #N/A | #N/A | #N/A
922 | 0 | #N/A | #N/A | #N/A | #N/A
923 | 0 | #N/A | #N/A | #N/A | #N/A
924 | 0 | #N/A | #N/A | #N/A | #N/A
925 | 0 | #N/A | #N/A | #N/A | #N/A
926 | 0 | #N/A | #N/A | #N/A | #N/A
927 | 0 | #N/A | #N/A | #N/A | #N/A
928 | 0 | #N/A | #N/A | #N/A | #N/A
929 | 0 | #N/A | #N/A | #N/A | #N/A
930 | 0 | #N/A | #N/A | #N/A | #N/A
931 | 0 | #N/A | #N/A | #N/A | #N/A
932 | 0 | #N/A | #N/A | #N/A | #N/A
933 | 0 | #N/A | #N/A | #N/A | #N/A
934 | 0 | #N/A | #N/A | #N/A | #N/A
935 | 0 | #N/A | #N/A | #N/A | #N/A
936 | 0 | #N/A | #N/A | #N/A | #N/A
937 | 0 | #N/A | #N/A | #N/A | #N/A
938 | 0 | #N/A | #N/A | #N/A | #N/A
939 | 0 | #N/A | #N/A | #N/A | #N/A
940 | 0 | #N/A | #N/A | #N/A | #N/A
941 | 0 | #N/A | #N/A | #N/A | #N/A
942 | 0 | #N/A | #N/A | #N/A | #N/A
943 | 0 | #N/A | #N/A | #N/A | #N/A
944 | 0 | #N/A | #N/A | #N/A | #N/A
945 | 0 | #N/A | #N/A | #N/A | #N/A
946 | 0 | #N/A | #N/A | #N/A | #N/A
947 | 0 | #N/A | #N/A | #N/A | #N/A
948 | 0 | #N/A | #N/A | #N/A | #N/A
949 | 0 | #N/A | #N/A | #N/A | #N/A
950 | 0 | #N/A | #N/A | #N/A | #N/A
951 | 0 | #N/A | #N/A | #N/A | #N/A
952 | 0 | #N/A | #N/A | #N/A | #N/A
953 | 0 | #N/A | #N/A | #N/A | #N/A
954 | 0 | #N/A | #N/A | #N/A | #N/A
955 | 0 | #N/A | #N/A | #N/A | #N/A
956 | 0 | #N/A | #N/A | #N/A | #N/A
957 | 0 | #N/A | #N/A | #N/A | #N/A
958 | 0 | #N/A | #N/A | #N/A | #N/A
959 | 0 | #N/A | #N/A | #N/A | #N/A
960 | 0 | #N/A | #N/A | #N/A | #N/A
961 | 0 | #N/A | #N/A | #N/A | #N/A
962 | 0 | #N/A | #N/A | #N/A | #N/A
963 | 0 | #N/A | #N/A | #N/A | #N/A
964 | 0 | #N/A | #N/A | #N/A | #N/A
965 | 0 | #N/A | #N/A | #N/A | #N/A
966 | 0 | #N/A | #N/A | #N/A | #N/A
967 | 0 | #N/A | #N/A | #N/A | #N/A
968 | 0 | #N/A | #N/A | #N/A | #N/A
969 | 0 | #N/A | #N/A | #N/A | #N/A
970 | 0 | #N/A | #N/A | #N/A | #N/A
971 | 0 | #N/A | #N/A | #N/A | #N/A
972 | 0 | #N/A | #N/A | #N/A | #N/A
973 | 0 | #N/A | #N/A | #N/A | #N/A
974 | 0 | #N/A | #N/A | #N/A | #N/A
975 | 0 | #N/A | #N/A | #N/A | #N/A
976 | 0 | #N/A | #N/A | #N/A | #N/A
977 | 0 | #N/A | #N/A | #N/A | #N/A
978 | 0 | #N/A | #N/A | #N/A | #N/A
979 | 0 | #N/A | #N/A | #N/A | #N/A
980 | 0 | #N/A | #N/A | #N/A | #N/A
981 | 0 | #N/A | #N/A | #N/A | #N/A
982 | 0 | #N/A | #N/A | #N/A | #N/A
983 | 0 | #N/A | #N/A | #N/A | #N/A
984 | 0 | #N/A | #N/A | #N/A | #N/A
985 | 0 | #N/A | #N/A | #N/A | #N/A
986 | 0 | #N/A | #N/A | #N/A | #N/A
987 | 0 | #N/A | #N/A | #N/A | #N/A
988 | 0 | #N/A | #N/A | #N/A | #N/A
989 | 0 | #N/A | #N/A | #N/A | #N/A
990 | 0 | #N/A | #N/A | #N/A | #N/A
991 | 0 | #N/A | #N/A | #N/A | #N/A
992 | 0 | #N/A | #N/A | #N/A | #N/A
993 | 0 | #N/A | #N/A | #N/A | #N/A
994 | 0 | #N/A | #N/A | #N/A | #N/A
995 | 0 | #N/A | #N/A | #N/A | #N/A
996 | 0 | #N/A | #N/A | #N/A | #N/A
997 | 0 | #N/A | #N/A | #N/A | #N/A
998 | 0 | #N/A | #N/A | #N/A | #N/A
999 | 0 | #N/A | #N/A | #N/A | #N/A
1000 | 0 | #N/A | #N/A | #N/A | #N/A